[LU_WA_USAGE]

PUB | Public

DOM | Domestic

COM | Commercial

FIRE | Fire

UNK | Unknown

[LU_WA_LEFTRIGHT]

L | Left

R | Right

UNK | Unknown

[LU_WA_VERTLOCTN]

ABOVE | Above

BELOW | Below

BOTH | Both

UNK | Unknown

[LU_WA_DEVICETYPE]

PVB | Pressure Vacuum Breaker

DCDA | Double Check Detector Assembly

RPA | Reduced Pressure Assembly

UNK | Unknown

[LU_WA_DEVICESIZE]

0.75" | 0.75 Inches

1" | 1 Inches

1.20" | 1.20 Inches

1.50" | 1.50 Inches

10" | 10 Inches

2" | 2 Inches

2.5" | 2.5 Inches

3" | 3 Inches

3.2" | 3.2 Inches

4" | 4 Inches

6" | 6 Inches

8" | 8 Inches

950xl | 950xl

UNK | Unknown

[LU_WA_DEVICEMFR]

AMES | Ames

ARI | Ari

FEBCO | Febco

HERSEY | Hersey

WATTS | Watts

UNK | Unknown

[LU_WA_VLVTYP]

AIR_RELEASE_VALVE | Air Release Valve

ALTITUDE_CONTROL_VAL | Altitude Control Valve

BLOW_OFF_VALVE | Blowoff Valve

BUTTERFLY_VALVE | Butterfly Valve

CHECK_VALVE | Check Valve

CONTROL_VALVE | Control Valve

GATE_VALVE | Gate Valve

HOSE_BIB | Hose Bib

POST_INDIC_VV | Post Indicator Valve

PRES_REDUCING_VALVE | Pressure Reducing Valve

PRES_SUSTAIN_VALVE | Pressure Sustaining Valve

UNK | Unknown

[LU_WSPEC_BED_BACKFILL_MAT]

AGGR | Aggregate

BENT | Bentonite Sand Mixture

CLAY | Clay

CLSLRY | Clay Slurry

CONC | Concrete (unknown if reinforced)

CONCB | Concrete Blocks

CONCH | Concrete Haunching

CR | Crushed Rock

EXCMAT | Excavated Material

GROUT | Grout

PKGSAND | Packing Sand

QWST | Quarry Waste

RC | Reinforced Concrete

SAND | Sand

SCOR | Scoria

SeeComment | To be used when a Bedding/Backfill Material is not listed. The new Bedding/Backfill Material is to be listed in the Comments field.

SEMAT | Selected Excavated Material

SLCS | Sand Lime Cement Slurry

TOPGS | Toppings

TRSAND | Trench Refill Sand

[LU_WSPEC_PIPE_PRESS_CLASS]

PN10 | 1 MPa

PN12 | 1.2 MPa

PN12.5 | 1.25 MPa

PN15 | 1.5 MPa

PN16 | 1.6 MPa

PN18 | 1.8 MPa

PN20 | 2.0 MPa

PN4.5 | 0.45 MPa

PN6 | 0.6 MPa

PN8 | 0.8 MPa

PN9 | 0.9 MPa

SeeComment | To be used when a Pipe Pressure Class is not listed. The new Pipe Pressure Class is to be listed in the Comments field.

[LU_WSPEC_GRND_TYPE]

BAS | Basalt

CLAY | Clay

CLBS | Clay and Basalt

CLGR | Clayey Gravel

CLRK | Clay and Rock

CLSI | Clayey Silt

CLSN | Clayey Sand

CLSTN | Clay and Stone

COBL | Cobble

DACT | Dacite

FILL | Fill

GFILL | General Fill

GRCL | Gravely Clay

GRSI | Gravely Silt

GRSN | Gravely Sand

GRT | Granite

GRVL | Gravel

HNFS | Hornfels

LOAM | Loam

LS | Limestone

MDSTN | Mudstone

RCK | Rock

SACL | Sandy Clay

SAND | Sand

SASI | Sandy Silt

SeeComment | To be used when a Ground Soil Type is not listed. The new Ground Soil Type is to be listed in the Comments field.

SHAL | Shale

SICL | Silty Clay

SIGR | Silty Gravel

SILT | Silt

SISN | Silty Sand

SLST | Siltstone

SNGR | Sandy Gravel

SNST | Sandstone

SOIL | Soil

SSRF | Sandstone and Reef

STNE | Stone

[LU_WSPEC_PIPE_INST_METHOD]

ABG | Above Ground

BORED | Bored

SeeComment | To be used when a Pipe Installation Method is not listed. The new Pipe Installation Method is to be listed in the Comments field.

SUS | Suspended

TR | Trench

TU | Tunnel

[LU_WSPEC_JOINT_METHOD]

BAIO | BAIO Flangeless Coupling System

BFJ | Butt Fusion Weld Joint (PE)

BSWJ | Ball and Socket Weld Joint (Steel)

BWJ | Butt Weld Joint (Steel)

CJ | Compression Joints

CWJ | Collar Weld Joint

EFJ | Electro fusion Coupling Weld Joint (PE, Steel)

FJ | Flanged Joint (Iron, PE)

FLGFLG | Flange to Flange

LJ | Lead Joint

MCJ | Mechanical Coupling Joint

PF | Push Fit

PFJ | Polyester Fairing Joint

PJ | Plumbite Joint

PUJ | Polyurethane Joint

RRJ | Rubber Ring Joint

RRJL | Rubber Ring Joint embedded with metallic locking segments

SCJ | Solvent Cement Joint

SeeComment | To be used when a Jointing Method is not listed. The new Jointing Method is to be listed in the Comments field.

SOCFLG | Socket to Flange

SOCSOC | Socket to Socket

SPWJ | Spherical Slip-In Weld Joint (Steel)

TL | Tyton Lock

WM | Welded - Metal

[LU_WSPEC_PIPE_MATRL]

BKBRT | Black Brute

BRASS | Brass

CI | Grey Cast Iron

CICL | Cast Iron Cement Lined

CLIS | Cement Lined In-Situ

CLS | Concrete Lined Steel

CLSC | Cement Lined Steel Coat

CORR | Corrugated Steel/Aluminium

CU | Copper

DI | Ductile Iron

FBPE | Fusion Bonded PE

FIBRE | Fibreglass

FRC | Fibre Reinforced Cement

FRP | Fibre Reinforced Plastic

FSP | Fibre Reinforced Pipe

HDPE | High Density PE (PE100)

mPVC | Modified Polyvinyl Chloride

NA | Not Applicable

NYL | Nylon

oPVC | Oriented PVC (EG: Blue Brute)

PE | Polyethylene

PVC | Polyvinylchloride

RC | Reinforced Concrete - No Class/Unknown

RCPL | Reinforced Concrete Plastic Lined

SeeComment | To be used when a Pipe Material is not listed. The new Pipe Material is to be listed in the Comments field.

SSTEEL | Stainless Steel

SSTEEL316 | Stainless Steel (grade 316)

uPVC | Un-plasticised PVC

uPVC-S | Un-plasticised PVC - Sewer grade

[LU_WSPEC_PIPE_TYPE]

FIRE | Fire Service

HOUSE | House Connection

PDIST | Primary Distribution

PRIVATE | Private

PSUPP | Primary Supply

REGM | Regional Main

SDIST | Secondary Distribution

SeeComment | To be used when a Pipe Type is not listed. The new Pipe Type is to be listed in the Comments field.

SITE | Site Assets

SSUPP | Secondary Supply

[LU_WSPEC_PROT_TYPE]

BITUMEN | Bitumen

CATH | Cathodic

DENT | Denso Taped

FBE | Fusion Bonded Epoxy

GAL | Galvanised

PAINT | Painted

PE | Polyethylene

SCEN | Sintakote Concrete Encased

SeeComment | To be used when a Protection Type is not listed. The new Protection Type is to be listed in the Comments field.

SHETH | Sheathed

SINTK | Sintakote

UNC | Uncoated

[LU_WSPEC_PIPE_REN_MATRL]

ABS | Acrylonitrile Butadiene Styrene

ALS | Aluminium Spray

AS | Asbestos

BITP | Bitumen Paint

CML | Cement Mortar Lining

CMSL | Cement Mortar Spun Lining

CTEW | Coal Tar Enamel & Wrapped

EEN | Epoxy Enamel

FBE | Fusion Bonded Epoxy

FIBRE | Fibreglass

FRC | Fibre Reinforced Cement

GRER | Glass Reinforced Epoxy Resin

GRP | Glass Reinforced Plastic

GUNN | Gunnite

INC | Incoloy

IZS | Inorganic Zinc Silicate

NA | Not Applicable

PLHS | Plastic Heat Shrink Sleeve

PU | Polyurethane

PUA | Polyurea

PVCS | PVC - Sintakote

SeeComment | To be used when a Pipe Renewal Material is not listed. The new Pipe Renewal Material is to be listed in the Comments field.

ZNP | Zinc Plate

ZNS | Zinc Spray

[LU_WSPEC_PIPE_REN_METHOD]

BURST | Pipe Burst

CURED | Cured in Place

NA | Not Applicable

SeeComment | To be used when a Pipe Renewal Method is not listed. The new Pipe Renewal Method is to be listed in the Comments field.ÿ

SLIP | Slip Lined

[LU_WSPEC_SOURCE]

AS5488 | Using the Sub Surface Utility Australian Standard AS5488-2013

ASCON | As Constructed Drawing

CHNOFF | Chainage and Offset

COMB_1 | Combination Engineers, Contractors and Field Survey Work

COMB_2 | Combination Engineers and Field Survey Work

COMB_3 | Combination Contractors and Field Survey Work

COMB_4 | Combination Landscape Company and Field Survey Work

CONTRACTOR | Contractor who built the asset

DESPLAN | Design Plan. DESPLAN is only to be used if the asset has not been constructed at time of Practical Completion

DESPLANC | Design Plans issued for Construction. DESPLANC is only to be used if the asset has not been constructed at time of Practical Completion

ENGINEER | Consulting Engineer who designed the asset and or supervised the construction work

FIELD | Field Survey

NA | Not Applicable

REFER | Refer to the individual tables

SeeComment | To be used when a Source is not listed. The new Source is to be listed in the Comments field.

[LU_WSPEC_ASSET_STATUS]

ABN | Abandoned or Disused

FILL | Filled (for access points/pits etc.)

INUSE | In-Use

OTHER | Other Use (for cables etc.)

REM | Removed

[LU_WSPEC_UNIT_MEAS_REF]

AREA | Area

CM | Cubic metre

HA | Hectare

KILO | Kilogram

LM | Linear metre

SCHEDULE | To be used when a schedule of rates is provided

SeeComment | To be used when a Unit of Measure is not listed. The new Unit of Measure is to be listed in the Comments field.

SQM | Square Metre

[LU_WSPEC_WATER_TYPE]

POT | Potable

RAW | Raw

REC | Recycled/Reclaimed

[LU_WSPEC_CATH_PROT_TYPE]

GAL | Galvanised

ICS | Impress Current System

SeeComment | To be used when a Access Point Construction Method is not listed. The new Access Point Construction Method is to be listed in the Comments field.

[LU_WSPEC_HEALTH_SAFETY_ISSUE]

CONFINED | Confined Spaces

ENERG_SRC | Energy Source

EXCAVATION | Excavation and Trenching

FORKLIFTS | Forklifts Operating

HAZ_SUB | Hazardous Substances

HEIGHT | Working At Height

HIGH_VOLT | High Voltage

LIFT_EQUIP | Cranes and Lifting Equipment

LIVE_TRAF | Live Traffic

NIL | No Requirement

PLANT | Mobile Plant

POWER_EQ | Power Plant and Equipment

RESTRICTED | Restricted Space

SeeComment | To be used when a Health and Safety Issue is not listed. The new Health and Safety Issue is to be listed in the Comments field.

[LU_WSPEC_FUEL_TYPE]

DIES | Diesel

ELEC | Electricity

GAS | Gas

OIL | Oil

PETROL | Petrol

SeeComment | To be used when a Fuel Type is not listed. The new Fuel Type is to be listed in the Comments field.

SFUEL | Solid Fuel

[LU_WSPEC_IMPL_MATRL]

AL | Aluminium

BRASS | Brass

BRONZE | Bronze

IRON | Iron

NA | Not Applicable

PLASTIC | Plastic

RUB | Rubber

SeeComment | To be used when an Impeller Material is not listed. The new Impeller Material is to be listed in the Comments field.

STEEL | Steel

[LU_WSPEC_IMPL_TYPE]

CENSC | Centrifugal screw

CLCH | Closed channel

HHCLCC | High head closed channel

MFLOW | Mixed flow

PRPL | Propeller

SeeComment | To be used when an Impeller Type is not listed. The new Impeller Type is to be listed in the Comments field.

SEMIOP | Semi-open

SHRED | Shredder

SLUR | Slurry

VOR | Vortex

[LU_WSPEC_FEATURE_TYPE]

APOINT | Access Point

CEIL | Ceiling

CONDUIT | Conduit

DOOR | Door

ENDWALL | Endwall

FLOOR | Floor

HEADWALL | Headwall

LIFT | Lift

MTR | Motor

PIPE | Pipe

PUMP | Pump

ROOF | Roof

SeeComment | To be used when a Feature Type is not listed. The new Feature Type is to be listed in the Comments field.

VALVE | Valve

WINDOW | Window

[LU_WSPEC_EQUIP_MATRL]

BRASS | Brass

DI | Ductile Iron

FBE | Fusion Bonded Epoxy

FBPE | Fusion Bonded PE

GWI | Galvanised Wrought Iron (Also known as Galvanised Mild Steel)

HAL | Helicore Aluminium

LDPE | Low Density Polyethylene

MI | Malleable Iron

MSW | Mild Steel Welded

NA | Not Applicable

SeeComment | To be used when a Equipment Material is not listed. The new Equipment Material is to be listed in the Comments field.

WI | Wrought Iron

[LU_WSPEC_PUMP_PUR]

BOOST | Booster

SeeComment | To be used when a Pump Purpose Type is not listed. The new Pump Purpose Type is to be listed in the 'Comments' field.

SUCTN | Suction

[LU_WSPEC_PUMP_USE]

NONSTDBY | Non-Standby

SeeComment | To be used when a Pump Use Type is not listed. The new Pump Use Type is to be listed in the 'Comments' field.

STDBY | Standby

[LU_WSPEC_VOLT_TYPE]

1PHASE | Single Phase

3PHASE | Three Phase

LOWVOLT | Low Voltage

SeeComment | To be used when a Voltage Type is not listed. The new Voltage Type is to be listed in the Comments field.

[LU_WSPEC_PUMP_TYPE]

BORE | Bore

CENS | Centrifugal - Single Stage

EDS | End Suction

EDSCS | End Suction - Centrifugal - Single Stage

HM | Horizontal Multistage

JET | Jet

PRS | Pressure

SeeComment | To be used when a Pump Type is not listed. The new Pump Type is to be listed in the Comments field.ÿ

SUB | Submersible

VM | Vertical Multistage

[LU_WSPEC_POSITION]

ABG | Above Ground

OVRHD | Overhead

PRTBRD | Partially Buried

UNDGRD | Underground

[LU_WSPEC_VALVE_PUR]

AIRIN | Air In

AIRINOUT | Air In & Out

AIROUT | Air Out

BURSTC | Burst Control

BYP | Bypass

CTRLFLOW | Control - Flow

CTRLFLPR | Control Flow & Press

CTRLPRESS | Control - Pressure

DF | Drinking Fountain

EMRO | Emergency Only

EMWR | Emergency Waste Removal

FIRE | Fire Service Connection

FIREFIGHT | Fire Fighting

FLPT | Flushing Point

IRRIG | Irrigation

ISO | Isolation

LATSUP | Lateral Supply

NONE | No Special Function

NRV | Non-return/Backflow

PRESBDY | Boundary Press Zone

PRESRG | Pressure Regulation

PRM | Pressure Maintaining

PRV | Pressure Reducing

PTR | Transducer

SAMPLE | Sampling Point

SCOUR | Scour

SeeComment | To be used when a Valve Purpose is not listed. The new Valve Purpose is to be listed in the Comments field.

SERV | Customer Service

TAP | Tap

VACSO | Vacuum Shut Off

[LU_WSPEC_VALVE_TYPE]

AF | Auto flush

AIR | Air Release

AIRRC | Air-Recycled

ALT | Altitude

ALT/NRV | Altitude/Non-Return

ALT/PR | Altitude/Pressure Reducing

ALT/PS | Altitude/Pressure Sustaining

ALT/PS/PR | Altitude / Pressure Sustaining / Reducing

B/F | Butterfly

BACKFP | Backflow Prevention

BACKFPRPZ | Backflow Prevention RPZ

BALL | Ball

BURSTC | Burst Control

D/BAR | Drop Bar

DAIR | Double Air

DIAPH | Diaphragm

FC | Flow Control

FERRULE | Ferrule

FGAP | Flap Gap

FLOAT | Float

FOOT | Foot

GATE | Gate

HYOFF | Hydrant-Offset (AS 5488 - 2013 Component)

ISO | Isolation

KEYGATE | Key Gate

KN/GATE | Knife Gate

L/C | Level Control

L/GATE | Lift Gate

MOTOR | Motorised

NEEDLE | Needle

NRV | Non Return / Reflux / Check

PEN | Penstock

PILOT | Pilot

PRLF | Pressure Relief

PRV | Pressure Reducing

PSV | Pressure Sustaining

PTR | Transducer

R/F | Ring Follower

REGR | Regulator

REVS | Reverse

S/C | Swing Check

S/COCK | Stopcock

SAIR | Single Air

SeeComment | To be used when a Valve Type is not listed. The new Valve Type is to be listed in the Comments field.

SLEEVE | Sleeve

SLUICE | Sluice

SOLENOID | Solenoid

STOP | Stop (AS 5488 - 2013 Component)

STOPRC | Stop-Recycled (AS 5488 - 2013 Component)

TC | Test Cock

W | Wheel