[TAG_DISPLAY_STATUS]

0

[FORMAT_VALUE_STATUS]

1

[VALID BLOCKS]

CU-WATR-HYDT-PT | Civil Water Fire Hydrant

CU-WATR-BKFL-PT | Civil Water Backflow Device

CU-WATR-NODE-REGL | Civil Water Node Regulator

CU-WATR-VALV-ACV | Civil Water Altitude Control Valve

WSPEC_PRESSURE_MAIN | Water: Pressure Main

WSPEC_CATH_PROTECTION | Water: Cathodic Protection

WSPEC_PUMP | Water: Pumps

WSPEC_VALVE | Water: Valves

[DATA STANDARD]

Data Standard Name Goes Here | Validation Set Version Goes Here

[CU-WATR-HYDT-PT]

ID_REF |  | 0

TYPE |  | 1

DEVICE_SIZ |  | 1

MFR |  | 1

MODEL |  | 1

USAGE | LU_WA_USAGE | 1

DIR_OPEN | LU_WA_LEFTRIGHT | 1

TURNS |  | 1

PORTS_2HALF |  | 1

PORTS_4HALF |  | 1

DSGN_FLOW |  | 1

DSGN_HEAD |  | 1

VERT_LOCTN | LU_WA_VERTLOCTN | 1

OWNED_BY |  | 0

ELEVATION |  | 0

ADDRESS_1 |  | 0

CROSS_ST |  | 0

LOCATION |  | 0

ADDNL_NOTES |  | 0

CONTR_NO |  | 0

CONTR_YEAR |  | 0

LAYER |  | 0

[CU-WATR-BKFL-PT]

ID_REF |  | 0

TYPE | LU_WA_DEVICETYPE | 1

DEVICE_SIZ | LU_WA_DEVICESIZE | 1

MFR | LU_WA_DEVICEMFR | 1

MODEL |  | 0

SER_NO |  | 0

USAGE | LU_WA_USAGE | 1

OWNED_BY |  | 0

ELEVATION |  | 0

VERT_LOCTN | LU_WA_VERTLOCTN | 1

LOCATION |  | 0

ADDNL_NOTES |  | 0

CONTR_NO |  | 0

CONTR_YEAR |  | 0

LAYER |  | 0

[CU-WATR-NODE-REGL]

ID_REF |  | 0

TYPE |  | 0

DEVICE_SIZ |  | 0

MFR |  | 0

MODEL |  | 0

VERT_LOCTN | LU_WA_VERTLOCTN | 1

OWNED_BY |  | 0

ELEVATION |  | 0

LOCATION |  | 0

ADDNL_NOTES |  | 0

CONTR_NO |  | 0

CONTR_YEAR |  | 0

LAYER |  | 0

[CU-WATR-VALV-ACV]

ID_REF |  | 0

VLV_TYP | LU_WA_VLVTYP | 1

DEVICE_SIZ |  | 1

MFR |  | 1

MODEL |  | 1

USAGE | LU_WA_USAGE | 1

DIR_OPEN |  | 1

TURNS |  | 1

DPT2TOPNUT |  | 1

DSGN_FLOW |  | 1

DSGN_HEAD |  | 1

ELEVATION |  | 0

VERT_LOCTN | LU_WA_VERTLOCTN | 1

ADDRESS_1 |  | 0

CROSS_ST |  | 0

OWNED_BY |  | 0

LOCATION |  | 0

ADDNL_NOTES |  | 0

CONTR_NO |  | 0

CONTR_YEAR |  | 0

LAYER |  | 0

[WSPEC_PRESSURE_MAIN]

BACKFILL | LU_WSPEC_BED_BACKFILL_MAT | 1

BEDDING | LU_WSPEC_BED_BACKFILL_MAT | 1

CCTV_DATE |  | 0

CCTV_REF |  | 0

CLASS_P | LU_WSPEC_PIPE_PRESS_CLASS | 1

COMMENTS |  | 0

CURRENCY |  | 1

DIAMETER |  | 1

FLOW_RATE |  | 1

FROM_NODE |  | 1

GRND_TYPE | LU_WSPEC_GRND_TYPE | 1

GRND_WATER |  | 1

INSTL_MTD | LU_WSPEC_PIPE_INST_METHOD | 1

JOINT_MTD | LU_WSPEC_JOINT_METHOD | 1

LOCATION |  | 1

MANUFACT |  | 1

MATERIAL | LU_WSPEC_PIPE_MATRL | 1

OWNER |  | 1

PIPE_DEST |  | 1

PIPE_NO |  | 1

PIPE_TYPE | LU_WSPEC_PIPE_TYPE | 1

PROTECTION | LU_WSPEC_PROT_TYPE | 1

RL_RN_MAT | LU_WSPEC_PIPE_REN_MATRL | 1

RL_RN_MTD | LU_WSPEC_PIPE_REN_METHOD | 1

ROCK_EXCAV |  | 1

SOURCE | LU_WSPEC_SOURCE | 1

ST_NAME |  | 1

STATUS | LU_WSPEC_ASSET_STATUS | 1

TO_NODE |  | 1

UNIT_COST |  | 1

UNIT_REF | LU_WSPEC_UNIT_MEAS_REF | 1

WATER_TYPE | LU_WSPEC_WATER_TYPE | 1

[WSPEC_CATH_PROTECTION]

BEDDING | LU_WSPEC_BED_BACKFILL_MAT | 1

COMMENTS |  | 0

CURRENCY |  | 1

IP_RATING |  | 1

IP_STD |  | 1

IR_VOLT |  | 1

MANUFACT |  | 1

MODEL_NO |  | 1

NO_DEVICES |  | 1

OUT_VOLT |  | 1

PHOTO_REF |  | 1

PROT_TYPE | LU_WSPEC_CATH_PROT_TYPE | 1

SAFETY | LU_WSPEC_HEALTH_SAFETY_ISSUE | 1

SERIAL_NO |  | 1

SOURCE | LU_WSPEC_SOURCE | 1

STATUS | LU_WSPEC_ASSET_STATUS | 1

TOP_RL |  | 1

UNIQUE_ID |  | 1

UNIT_COST |  | 1

UNIT_REF | LU_WSPEC_UNIT_MEAS_REF | 1

[WSPEC_PUMP]

A_STROKE |  | 1

AIR_PRESS |  | 1

AIR_VESLS |  | 1

B_WTR_LEV |  | 1

C_MANUFACT |  | 1

C_MODEL_NO |  | 1

COMMENTS |  | 0

CSERIAL_NO |  | 1

CURRENCY |  | 1

FLOW_RATE |  | 1

FUEL_TYPE | LU_WSPEC_FUEL_TYPE | 1

FUEL_USE |  | 1

IMP_DIAM |  | 1

IMP_MAT | LU_WSPEC_IMPL_MATRL | 1

IMPEL_TYPE | LU_WSPEC_IMPL_TYPE | 1

INLET_DIAM |  | 1

IP_RATING |  | 1

JOINT_MTD | LU_WSPEC_JOINT_METHOD | 1

LIFT |  | 1

LINKD_F_ID |  | 1

LINKD_FEAT | LU_WSPEC_FEATURE_TYPE | 1

M_CONDATE |  | 1

M_MANUFAC |  | 1

M_MODEL |  | 1

M_RATE |  | 1

MATERIAL | LU_WSPEC_EQUIP_MATRL | 1

MAX_MRPM |  | 1

MAX_PRPM |  | 1

MIN_MRPM |  | 1

MIN_PRPM |  | 1

MMAX_FLOW |  | 1

MMIN_FLOW |  | 1

MSERIAL_NO |  | 1

MULTISTAGE |  | 1

NOR_PRPM |  | 1

ORIENT |  | 1

OUTLT_DIAM |  | 1

P_MANUFACT |  | 1

P_MODEL |  | 1

P_PURPOSE | LU_WSPEC_PUMP_PUR | 1

P_USE | LU_WSPEC_PUMP_USE | 1

PHASE | LU_WSPEC_VOLT_TYPE | 1

PHOTO_REF |  | 1

PM_WEIGHT |  | 1

PRESSURE |  | 1

PUMP_TYPE | LU_WSPEC_PUMP_TYPE | 1

RISE |  | 1

SERIAL_NO |  | 1

SOURCE | LU_WSPEC_SOURCE | 1

STATUS | LU_WSPEC_ASSET_STATUS | 1

T_WTR_LEV |  | 1

TELEMETRY |  | 1

TOT_VOL |  | 1

UNIT_COST |  | 1

UNIT_REF | LU_WSPEC_UNIT_MEAS_REF | 1

WATER_TYPE | LU_WSPEC_WATER_TYPE | 1

WPS_NAME |  | 1

WPS_NO |  | 1

[WSPEC_VALVE]

COMMENTS |  | 0

CURRENCY |  | 1

FEAT_ID |  | 1

FEAT_LINK | LU_WSPEC_FEATURE_TYPE | 1

INT_DIAM |  | 1

MANUFACT |  | 1

MATERIAL | LU_WSPEC_EQUIP_MATRL | 1

MODEL_NO |  | 1

OFF_DIRCT |  | 1

OPEN_SHUT |  | 1

PHOTO_REF |  | 1

POSITION | LU_WSPEC_POSITION | 1

PRESSURE |  | 1

PROTECTION | LU_WSPEC_PROT_TYPE | 1

PURPOSE | LU_WSPEC_VALVE_PUR | 1

SOURCE | LU_WSPEC_SOURCE | 1

STATUS | LU_WSPEC_ASSET_STATUS | 1

TELEMETRY |  | 1

TOP_RL |  | 1

UNIQUE_ID |  | 1

UNIT_COST |  | 1

UNIT_REF | LU_WSPEC_UNIT_MEAS_REF | 1

VALVE_TYPE | LU_WSPEC_VALVE_TYPE | 1